LAW OF UKRAINE

On Metrology and Metrological Activity

Amended and supplemented by Laws of Ukraine

No.762-IV dated 15 May 2003,

No.1765-IV dated 15 June 2004

(Law of Ukraine No.1765-IV dated 15 June 2004

this Law is stated in new revision)

This Law determines legal basis to ensure uniformity of measurements in Ukraine, and regulates relationship in metrological activity. The Law is aimed at protecting citizens and national economy against the consequences of doubtful measurement results.

Article 1. Basic terms and their definitions

Terms applied in this Procedure have the following meaning:

measurement – reflection of physical magnitudes by their values with the help of experiment and calculations using special technical means;

methodology of measurement – combination of procedures and rules whose meeting ensures obtaining measurement results with warranted accuracy;

instrumentation method – a technical device applied in measurements that have regulated metrological characteristics;

adjustment of instrumentation – establishing instrumentation operability covered by the state metrological supervision for application resulted from monitoring of their metrological characteristics;

calibration of instrumentation – determining under certain conditions or monitoring of metrological characteristics of instrumentation ;

metrological certification of instrumentation – study of instrumentation in order to determine its metrological characteristics and serviceability;

certification of measurement methodology – procedure for determining the methodology compliance with metrological requirements made for it;

verification laboratory – an enterprise, institution, organization or their separated subdivision performing verification of instrumentation ;

calibration laboratory – an enterprise, institution, organization or their separated subdivision performing calibration of instrumentation ;

measurement laboratory – an enterprise, institution, organization or their separated subdivision performing measurement of physical magnitudes, determination of chemical composition, physical and chemical, physical and mechanical and other characteristics and indices of substances, materials and products except measurements related to assessment of the compliance of products, processes, services with their documentary results.

Article 7. Application of measurement units

1. Measurement units of the International System of Units (hereinafter - SI) are used in Ukraine accepted at the General Conference on Measures and Weights and recommended by the International Organization of Legislative Metrology, namely:

Article 10. Measurements and application of their results

1. Measurement results can be used provided that relative errors characteristics and measurement uncertainties are known.

2. Measurement laboratories can perform measurements under the competence of the state metrological supervision if they are certified for these measurements.

3. Methodologies of measurements used under the competence of the state metrological supervision should be certified.

These methodologies are certified by metrological centers, territorial bodies, enterprises and organizations authorized to perform this certification in the state metrological system.

4. Certified methodologies are entered into the State Register of measurement methodologies used under the competence of the state metrological supervision according to the order established by regulations on metrology of the Central executive authority in the metrology.

5. Necessity to certify the measurement methodologies applied outside the competence of the state metrological supervision is determined by their developers or users.

Article 11. Application, import, production, repair, sale and lease of instrumentation

1. Instrumentation can be applied if it meets the accuracy requirements established for these instruments under certain operation conditions.

2. Instrumentation covered by the state metrological supervision can be applied, issued from production, repaired, sold and leased provided that it is verified or passed the state metrological certification.

3. Instrumentation that are not covered by the state metrological supervision can be issued from production and repaired only if they passed calibration or metrological certification.

4. Instrumentation can be imported to the Ukrainian territory by lots if the types of these instruments are included into the State Register of instrumentation .

Procedure to import instrumentation to the Ukrainian territory is established by the Cabinet of Ministers of Ukraine.

5. Enterprises, organizations and physical persons – business entities performing dealing with production, repair, sale and lease of instrumentation should inform in writing appropriate territorial bodies on their activity in the order established in the regulatory-legal of the Central executive authority in the metrology.

Enterprises, organizations and physical persons – business entities dealing with repair of instrumentation should follow conditions and rules of this activity established by the regulatory-legal act of the Central executive authority in the metrology.

Territorial bodies keep records of enterprises, organizations and physical persons – business entities dealing with production, repair, sale and lease of instrumentation .

Article 17. Metrological services of central executive authorities, enterprises and organizations

1. Metrological services can be arranged:

in central executive authorities (including central apparatus) –to coordinate the work related to ensuring measurements uniformity and metrological monitoring and supervision;

in administration of enterprise associations – to fulfill the functions of measurements uniformity ensuring delegated by enterprises included in associations;

in enterprises and organizations – to ensure measurements uniformity and metrological monitoring and supervision;

2. Metrological services are created or persons responsible are assigned necessarily to ensure measurements uniformity at enterprises and organizations performing the work under the competence of the state metrological supervision.

Article 22. Authorities and certification in the state metrological system

1. Authorities in the state metrological system (henceforth - authorities) are delegated to the appropriate body for documentary evidence of competences and rights of an enterprise, organization, or their subdivision to conduct state testing and adjustment of instrumentation and certify measurement methodologies.

2. An appropriate body performs certification in the state metrological system (hereinafter – the certification) for documentary evidence of the competence and rights of an enterprise, organization, or their subdivision to calibrate instrumentation.

3. Authorities  and certification, as well as drawing up of their results are performed in the order established in the regulatory-legal acts of the Central executive authority in the metrology.

Article 26. State testing of instrumentation and approval of their types

1. Instrumentation assigned for serial production in Ukraine or for importation to the Ukrainian territory by lots are subject to the state acceptance and check testing to approve types of these instruments or monitor their compliance with approved types and obligatory requirements of the regulations on metrology.

Central executive authority in the metrology enter the approved types of instrumentation into the State Register of instrumentation according to the order established by the regulatory document on metrology of this authority.

2. Instrumentation designed to be used by natural persons, not business entities, in the home for their own needs not covered by the state metrological supervision, are not subject to the state acceptance and check testing. The procedure for determining instrumentation belonging to those designed to be used in the home and that are not subject to the state acceptance and check testing is established in the regulatory-legal act of the Central executive authority in the metrology.

Article 28. Adjustment of instrumentation

1. Instrumentation under operation being produced in lots, under repair, sale, leased covered by the state metrological supervision are subject to verification.

Article 39. Metrological certification of instrumentation

1. Instrumentation not designed for serial production or importation to Ukraine by lots, which are not covered by the state metrological supervision, are subject to metrological certification.

Article 40. Calibration of instrumentation

1. Instrumentation designed for serial production in Ukraine or importation to Ukraine by lots, which are not covered by the state metrological supervision, are subject to calibration during the issue from production and repair.

Necessity to calibrate instrumentation during operation is determined by their users.

2. Metrological centers, territorial bodies, calibration laboratories of enterprises and organizations certified to calibrate the instruments in compliance with the law perform calibration of instrumentation for other enterprises, organizations and physical persons.

3. Metrological centers, territorial bodies, verification laboratories of enterprises and organizations authorized to verify these or similar instruments perform calibration of instrumentation for other enterprises, organizations and physical persons.

4. Calibration of instrumentation to be imported to Ukraine by lots is performed during its issue from production by calibration or verification laboratories of foreign producers certified for calibration or authorized to verify these or similar instruments in compliance with the law.

5. Calibration of instrumentation using primary and secondary models is performed by metrological centers and territorial bodies where these models are stored.

6. Calibration and drawing up of its results is performed according to the order established in the regulations on metrology of the Central executive authority in the metrology.

Section VI

METROLOGICAL ACTIVITY FINANCING

Article 47. Financing of metrological activity services of central executive authorities, enterprises and organizations

1. Metrological services of central executive authorities, enterprises and organizations covered by their competence, which are financed within the State Budget of Ukraine, perform all the work related to measurements uniformity ensuring at the cost of the State Budget of Ukraine allocated for their maintenance for correspondent year according to their accounts, as well as at the costs received for metrological services.

2. Activity of metrological services of other enterprises and organizations is financed at the costs of these enterprises.

Article 48. Recognition of the metrological work results performed in foreign states

The state testing results, type approval, verifications, calibrations and metrological certification of instrumentation performed in foreign states can be recognized according to the international agreements of Ukraine.