Approved

Order of the Ministry for

Environment Protection

of Ukraine No.114

dated 24 September 1996

RADIOACTIVE WASTE MANAGEMENT

RADIOACTIVE WASTE DISPOSAL

IN NEAR-SURFACE STORAGE FACILITIES

General radiation safety requirements

(regulatory document ND 306.604-96)

This regulatory document covers enterprises, organizations and institutions (hereinafter – Licensees) dealing with design, construction, operation, decommissioning and preservation of radioactive waste near-surface storage facilities except Licensees dealing with management of waste resulted from uranium mining and milling industry and spent nuclear fuel.

This document establishes radiation safety requirements for the activities identified.

Terms and definitions

Terms and definitions being used in this regulation are as follows:

Closure – a state of a storage facility when no activities with radioactive waste facilities are performed except those which are required to keep safety.

Final disposal - isolation of radioactive waste from human and the environment by placing them into a storage facility with no intention of using it further.

Institutional control – actions carried out by authorized body or organization after closure of storage facility to prevent radionuclides removal and unauthorized intervention. This control can be either active (monitoring, surveillance, remedial work) or passive (land use control and archives keeping).

License – a special written permission granted by the Ministry for Environment Protection of Ukraine to carry out any activity related to radioactive waste management.

Near-surface storage facility – a site final disposal modules and equipment needed to dispose radioactive waste at depth of not more than 30 m.

Storage modules – a part of a facility, which consists of engineering structures destined for radioactive waste location for their final disposal.

Waste package - containers together with waste located within it that meet the requirements for final waste disposal.

1. General provisions

1.1 Final disposal is considered safe provided the requirements described in items 1.2-1.5 of this section are met.

1.2 Radiation exposure of staff under operation of a storage facility shall not lead to exceeding of the dose limits established in NRB 76/87, item 3.2.

Radiation exposure of staff shall be reduced as low as possible taking into account economical and social factors.

1.3 Exposure of certain persons from the public (category B in accordance with NRBU 76/87) due to removal of radioactive substances outside a storage facility by underground or surface water, by air or by digestion chains in any period of storage facility lifetime shall not exceed the dose limit established in NRB 76/87, item 3.2 taking into account other ionizing radiation sources.

Release of radioactive waste into the environment shall be reduced as much as possible considering economical factors.

1.4 It is necessary to provide for such a state of a storage facility under which human being and the environment protection after its closure does not require permanent active institutional control.

1.5 Protection of a storage facility shall be provided against accidental intervention after completion of active institutional control.

1.6 A storage facility shall be registered in the State Cadastre of storage facilities and sites of radioactive waste temporary storage in accordance with the Provision on the State Cadastre of storage facilities and sites of radioactive waste temporary storage.

2. Requirements to waste subjected to final disposal

2.1 Radionuclide content, physical and chemical composition of waste or their packages shall meet the requirements of storage facility design where their final disposal is planned.

2.2 Only solid radioactive waste are subject to final disposal.

2.3 Radioactive waste acceptance criteria shall be developed and agreed upon with the State Sanitary Supervision authorities and the Ministry for Environment Protection of Ukraine. These criteria shall cove:

a) list and maximum specific activity of radionuclides;

b) requirements for physical state of waste;

c) list and boundary permissible content of toxic and other dangerous non-radioactive substances;

d) requirements for waste packages properties;

e) requirements for marking of packages;

f) requirements for supporting documents.

The list of criteria can be supplemented both by the Licensee and the regulatory authority.

2.4 Numerical values of waste properties shall be determined with the accuracy sufficient enough to ensure compliance with the requirements established according to item 2.3 of this document.

2.5 Radioactive contamination of external surfaces of waste packages shall not exceed the levels established in NRB 76/87, Table 8.5.

2.6 Radioactive waste having other dangerous properties must be located in a storage facility within special containers and using additional engineering barriers that ensure fulfillment of the requirements established in items 1.2-1.5.

2.7 Waste shall be of no fire danger. Waste packages shall keep their integrity under maximum predicted accident.

2.8 Waste containing alpha-active radionuclides and spent ionizing radiation sources shall be received for disposal within separate containers.

2.9 It is necessary to ensure structural stability of waste that is achieved by the physical as-state of waste, their placing within containers and engineering structures retaining their protecting properties during a period of time necessary for waste transfer into a safe state.

2.10 Each waste package shall have its own marking that shall be retained up to the moment of the storage facility preservation.

2.11 Supplier shall compose a certificate for each waste package where waste properties shall be indicated in accordance with SPORO-85.

3. Requirements for storage facility site

3.1 The objective of this section is to identify the requirements for properties of storage facility site that can influence upon safety of final disposal.

3.2 Geological structure of the site shall be simple enough to have a possibility to perform its modeling and monitoring.

3.3 Geological stability of the site shall be assessed with time till the waste subjected to disposal will is dangerous.

3.4 Siting shall be performed considering future population upsurge and prospects as to development of territories adjacent to site.

3.5 The territories with deposits of useful minerals shall be avoided.

3.6. The territories shall be avoided where complete of partial flooding or underflooding is possible.

3.7 The depth down to ground water mirror shall be sufficient enough to prevent continuous or other storage facility inundation. Waste must not be located within area where deviations of ground water level are possible.

It is necessary to assess possible changing in ground water level.

3.8 Relief of the site territory shall be such to provide for minimum surface outflow that prevents from erosion and flooding of waste storage facility.

3.9 Geochemical and hydrogeological properties of the site shall promote delaying of radionuclides migration and shall not impact considerably on the engineering barriers efficiency.

3.10 The territories shall be avoided where the expression of cavity formation and slump processes is possible that can influence upon a storage facility capability to isolate radioactive waste from the environment.

3.11 The site shall not be located within the territory where near-surface geological processes are expressed or can be actuated such as erosion, landslides, landslips and weathering that can influence upon a storage facility ability to isolate radioactive waste from the environment.

3.12 The storage facility site shall be located in such a way that entering paths allow transporting radioactive waste without unacceptable risk for the public.

3.13 The storage facility site shall not be located near enterprises and productions that can influence upon a storage facility capability to isolate radioactive waste from the environment or violate the environmental monitoring program.

4. Storage facility designing

4.1 Radioactive waste storage facility shall be designed considering its operation lifetime along with quantity and properties of radioactive waste subjected to final disposal at the territory to be served by this facility. In designing the following radioactive waste shall be taken into account:

1) available during designing;

2) being generated in future under operation of nuclear facilities and as a result of radioactive substances using in industry, medicine and research;

3) being produced under decommissioning of nuclear facilities.

It is necessary to envisage the reserve in a case of final disposal of radioactive waste generated in elimination of radiation accidents.

4.2 Under designing the following items shall be identified:

1) type of a storage facility;

2) technology, structures, premises and equipment necessary to receive waste;

3) technology, structures, premises and equipment necessary for waste interim storage;

4) method of waste packages location within a storage facility;

5) types of protecting barriers;

6) drainage systems within a storage facility;

7) internal transporting system;

8) technology, structures, premises and equipment necessary for decontamination of transport and equipment;

9) methods to monitor on-site ground water level within the storage facility site;

10) radiation monitoring program in compliance with the requirements of Section 9;

11) environment monitoring program in accordance with the requirements of Section 10;

12) scenarios of progression of possible emergencies, their consequences and comparison of the analysis results with safety criteria.

4.3 The storage facility shall be designed in a way to exclude water intrusion inside it and reduce water infiltration. The storage facility design shall envisage removal of infiltration water and near-surface drainage from waste and reduction of unfavorable geological processes impact.

Structures, premises and equipment necessary for sorting, intermediate storage and final disposal of waste shall be located separately from other structures and premises not destined for radioactive waste management. Also, arrangement of changing room mode shall be planned.

4.4 A physical protection system for radioactive materials being stored or disposed yet has to be developed.

4.5 It is necessary to envisage a sanitary and protecting area around a storage facility. Its size should be determined in compliance with the requirements of OSP 72/87 item 2.5.

4.6 Under designing of a storage facility it is necessary to develop a facility preservation plan. This plan shall describe sequence and contents of measures on:

1) ceiling of storage facility modules;

2) decontamination and dismantling of equipment and structures unnecessary for subsequent maintenance;

3) archives storage;

4) establishing of a post-operational monitoring and institutional control system.

4.7 The efforts on designing of storage facilities can perform only those organizations that have the license to perform appropriate design activities. Licensing procedure is established by the Ministry for Environment Protection of Ukraine.

5. Storage facility construction

5.1 Construction of a storage facility includes preparation of a site, construction of production premises and modules for final disposal of waste, laying of engineering communications, structures, assembling and tuning of technological equipment and monitoring system.

5.2 Construction activities can be started only after regulatory approval of the site selected, design development, issuing of permits (licenses) provided for by the legislation and development of the quality assurance program.

5.3 Construction activities shall be performed under strict compliance with the design and terms of the licenses obtained.

5.4 Amendments in and deviations from design or terms of licenses are possible provided that they will not impact on safety and a written permit of the Ministry for Environment Protection will be obtained.

5.5 Reconstruction activities and construction of additional modules can be performed under storage facility operation provided that this will not impact upon the existing storage facility safety, and a written permit of the Ministry for Environment Protection of Ukraine will be obtained.

5.6 It is necessary to identify accurately and indicate at the map the storage facility boundaries and location of its each module. At least, one permanent point for plane and height basis of geodesic network of Ukraine shall be laid on-site.

5.7 The guarding system shall be used at the storage facility territory that prevents unauthorized intervention of strange people, vehicles and animals. Radiation safety signs shall be installed prior to starting operation.

6. Storage facility operation

6.1 Operation of a storage facility covers its commissioning, receipt and location of waste inside, storage facility maintenance, intermediate storage and other measures in compliance with the license terms.

6.2 The Licensee is of complete responsibility for safe operation of a storage facility, radioactive waste accounting and keeping of documentation.

6.3 There shall be a changing room mode in a storage facility for transport and staff.

6.4 All the persons involved into the activities related to transportation, acceptance, storage, sorting and final disposal of radwaste, decontamination of equipment and radiation control refer to the category A – staff in accordance with NRB 76/87, item 26.

6.5 Prior to operation instructions and storage facility technical specifications reflecting the following main aspects shall be developed and approved by the Licensee:

1) personnel qualification, duties and responsibilities;

2) radioactive waste monitoring and acceptance procedure;

3) procedure for internal transportation, temporary storing and sorting of waste in a storage facility;

4) radioactive waste disposal procedure;

5) decontamination procedure;

6) procedure for ensuring sanitary and changing mode;

7) procedure and forms for accounting waste received and disposed at the storage facility.

6.6 “Instruction to prevent accidents and fires and to mitigate their consequences” and “Plan of measures on personnel protection and in the event of accidents” shall be developed, approved by the Licensee and agreed with the State Sanitary Supervision and State Fire Supervision authorities in accordance with the requirements of OSP 72/87 items 14.11 and 14.12 and other instructions in the event of accidents pursuant to the requirements of the regulatory authorities.

6.7 Radiation monitoring and the environment monitoring programs shall be developed, approved by the Licensee and agreed with the State Sanitary Supervision authorities and the Ministry for Environment Protection of Ukraine in accordance with sections 9 and 10 of this document.

6.8 Prior to start receiving radioactive waste it is necessary to get the sanitary certificate for the storage facility from the State Sanitary Supervision authorities of Ukraine in accordance with the requirements of OSP 72/87 item 3.3.

6.9 Waste received for disposal shall meet the requirements stated in items 2.1-2.11 of this document. The Licensee shall be able to check radioactive waste being received.

6.10 When radioactive wastes do not meet these requirements they are not being received. At that time an appropriate act is being compiled describing the refusal reasons.

6.11 Radioactive waste entering a storage facility are subject to account. Account documentation shall be kept during the whole period of storage facility operation.

6.12 Radioactive waste packages located in a storage facility module are subject to account indicating a package number along with that of module where it is located, as well as each package in-module location place. During one month since the end of each quarter it is necessary to submit a report to the Ministry for Environment Protection of Ukraine on received and disposed waste.

6.13 Only radioactive waste shall be disposed at the storage facility.

7. Storage facility decommissioning and preservation

7.1 Storage facility can be decommissioned both under planned order after filling of all its modules and resulted from the state regulatory authorities decision. In the latter case repeated commissioning is possible only if repeated permission from appropriate regulatory authority is available.

7.2 The storage facility preservation plan shall be developed based on the previous decommissioning and preservation plan in accordance with item 4.7 of this document considering the storage facility construction and operation experience. The plan shall be agreed upon with the State Sanitary Supervision authorities.

7.3 Storage facility can be preserved only after the Ministry for Environment Protection of Ukraine issues the appropriate permit (license).

7.4 There shall be permanent signs installed at the territory of storage facility that warn on danger of intervention.

7.5 After completion of preservation efforts a storage facility can be transferred to the organization responsible for its post-operational maintenance only on a basis of a written permission of the Ministry for Environment Protection of Ukraine.

8. Post-operational maintenance of a storage facility

8.1 Post-operational maintenance is aimed at preventing inadvertent intervention and removing radionuclides off-site.

8.2 Post-operational maintenance of a storage facility is performed as active and passive institutional control.

8.3 Efficient institutional control includes such an activity as monitoring, periodical inspection of drainage system functioning, repair of fences and signs of radiation danger, replacement of equipment for monitoring and vegetation removal that can influence upon safety of storage facility. Also, the efforts can be performed to prevent erosion due to sharp worsening of climate conditions.

8.4 Duration of efficient institutional control shall not exceed 100 years.

8.5 Except efficient control, also passive institutional control shall be performed that is retention of information on the storage facility location place, as well as restriction of land-tenure for some kinds of activity.

9. Radiation monitoring

9.1 Under operation of a storage facility the radiation monitoring program shall be implemented where the following items shall be identified:

1) kinds, scope, facilities and internal regulations of radiation control;

2) order of recording, accounting and storing the monitoring results;

3) permissible and reference levels of the parameters being monitored;

4) contingent of persons under individual monitoring;

5) necessary equipment and its location inside a storage facility;

6) necessary staff and its qualification;

7) format and order of reporting to the state regulatory authorities.

The radiation monitoring program shall be agreed upon with the state regulatory authorities.

9.2 Radiation monitoring under final disposal of radioactive waste is performed in the scope and by the parameters envisaged in GOST 12.1.048-85.

10. Environment monitoring

10.1 At the stage of storage facility siting it is necessary to perform the environmental monitoring to obtain background characteristics and take them into account under designing. It is necessary to obtain the information on ecological, meteorological, climatic, hydrological, hydrogeological, geological, geochemical and seismic properties of the storage facility site. For the properties that undergone season variations the data shall be generalized, at least, for a year.

10.2 During construction it is necessary to provide for monitoring aimed at assessing possible changes in the environment state due to storage facility construction.

10.3 Prior to storage facility operating it is necessary to develop an environmental monitoring program for its operation period. Scope, kind and parameters of monitoring as well as their sufficiency shall be agreed upon with the state regulatory authorities on nuclear and radiation safety.

10.4 Environmental monitoring program shall be aimed at:

1) detection of radionuclides migration from storage facility modules;

2) prevention against weather conditions, underground water level and other properties changing impact upon a storage facility safety.

10.5 The following aspects shall be covered by the program:

1) procedure for recording, accounting and storing the monitoring results;

2) list of the parameters to be monitored;

3) necessary equipment and its location;

4) necessary staff and its qualification;

5) format and order of reporting to the state regulatory authorities.

10.6 The following kinds of monitoring shall be included into the environmental monitoring program:

- control over contamination levels of near-surface and underground waters, atmosphere, vegetation and soils within sanitary and protecting area boundaries;

- control over changes in level, physical and chemical properties of underground and near-surface water;

- control over changes in weather conditions.

10.7 It is necessary to develop the monitoring program for post-operational period. This program shall be aimed at timely notification on removal of radionuclides from the storage facility modules, as well as at control over protecting barrier properties.

11. Quality assurance requirements

11.1 Quality assurance is a set of measures on control over observation of designing, construction, operation and post-operational maintenance conditions. Quality assurance is aimed at ensuring that the safety requirements will be met.

11.2 The following items shall be identified in the quality assurance program:

1) properties of storage facility components quality level;

2) methods to achieve and keep this quality level;

3) control over its achievement and maintaining;

4) analysis and elimination of possible deviations;

5) account of the control results and reporting formats;

6) necessary staff and its qualification;

7) necessary technical means for quality assurance;

8) storage of design, construction, operation documentation, as well as the one developed during preservation stage.

11.3 The Licensee is of complete responsibility for development and implementation of the quality assurance program, including the system to check storage facility, as well as all the activity being implemented there. The Licensee can charge another organization with development and implementation of the whole quality assurance program or its part, but in such a case he also is still responsible for its general efficiency without transfer of responsibility and commitments to the Contractor.

11.4 In developing the quality assurance program it is necessary to take into account that radioactive waste final disposal safety also depends upon waste producers. It is necessary to request waste producers to submit the documentation justifying that quality was ensured during waste sorting and reprocessing, radionuclide content identification, compiling the documentation for waste packages and other activities that can influence upon safety.

11.5 It is necessary to check quality of the information submitted by waste producers to provide for waste compliance with the acceptance criteria identified in items 2.1-2.11 of this document.

Referenced data

- DEVELOPED AND INTRODUCED BY

the State Scientific and Technical Centre for Nuclear and Radiation Safety

Executors: Dr. M. Korotenko (Task Leader),

O.Davidovs’ky

V.Golubev

- APPROVED by Ordinance of the Ministry for Environment Protection of Ukraine No.114 dated 24 September 1996.

- INMPLEMENTED BY THE FIRST TIME

4. THE FIRST CHECKING TERM IS – September 1998.